## RP
Unit 2 |  | Unit 3
Weekly | Dose | Weekly | Dose
Charging Partial #26H | 1 | AB 43' Sample Panel #19A | 0.5
Walkways #14A | 1 | Walkways #4C | 0.5
Weekly Total | 2 | Weekly Total | 1
Monthly |  | Monthly
Week 1 |  | Week 1
AB -5' VCT/LD/W Pen #21 | 3 | AB 4' #16 | 2
AB -5' SFP HX #22 | 1 | AB 4' Degas #16A | 2
AB -25' Charging #26 | 2 | AB 13' Mezz #16D | 1
AB -45' #27 | 3 | AB 18' Valve Corr #17 | 1
|  | AB 24' #18 | 0.5
|  | AB 43' #19 | 0.5
Weekly Week 1 Total | 9 | Weekly Week 1 Total | 7
Week 2 |  | Week 2
AB 38' SFP #7 | 1 | ESF -34' #29 | 0
AB -25 RBCCW #24 | 1 | ESF 4' #30 | 4
AB -25 WGDT #25 | 1 | ESF 21' #31 | 2
RWST Pipe Chase | 1 | ESF 37' #32 | 0
Weekly Week 2 Total | 4 | Weekly Week 2 Total | 6
Week 3 |  | Week 3
SRW #15A | 1 | FB 11' #33 | 1
AB -5 East Pen #20 | 1 | FB 24'/Decon #34/34D | 1
AB 38' Annex | 1 | FB 52' | 1
Weekly Week 3 Total | 3 | Weekly Week 3 Total | 3
Week 4 |  | Week 4
Ops Lockers #0 | 1 | WB 4' #36 | 2
|  | WB 17' #36A | 1
|  | WB 9' #36B | 0.5
|  | WB 24' #37 | 0.5
|  | WB 43' #38 | 0
Weekly Week 4 Total | 1 | Weekly Week 4 Total | 4
Quarterly |  | Quarterly
Month 1 |  | Month 1
Hot Spot Survey | 6 |  | 0
Month 2 |  | Month 2
EPRI Survey (#16) | 6 | Boronometer #16C | 8 | Rec. change frequency to "Upon entry or quarterly (whichever is less frequent)"
RBAST (#23A) | 4 | Hot Spot Survey | 6
Month 3 |  | Month 3
| 0 | WDB 4' HLWT | 3 | Rec. clarify frequency to "Upon entry or quarterly (whichever is less frequent)"
|  | Source Term Survey | 3
U2 Weekly Totals |  | U3 Weekly Totals
Week 1 | 11 | Week 1 | 8
Week 2 | 6 | Week 2 | 7
Week 3 | 5 | Week 3 | 4
Week 4 | 3 | Week 4 | 5
Yearly Weekly/Monthly | 275 | Yearly Weekly/Monthly | 264
Yearly Quarterly | 64 | Yearly Quarterly | 56
Yearly Total | 339 | Yearly Total | 320

## Ops
2022
Ops Rounds U2 | [6 empty] | Ops Rounds U3
| Week 1 | Week 2 | Week 3 | Week 4 | Week 5 | Total |  | Week 1 | Week 2 | Week 3 | Week 4 | Week 5 | Total
Jan | 10 | 9 | 13 | 10 |  | 42 | Jan | 0 | 0 | 0 | 0 |  | 0
Feb | 12 | 12 | 12 | 9 |  | 45 | Feb | 0 | 0 | 2 | 0 |  | 2
Mar | 12 | 10 | 9 | 12 | 12 | 55 | Mar | 1 | 0 | 1 | 0 | 1 | 3
Apr | 8 | 7 | 5 | 10 |  | 30 | Apr | 3 | 0 |  |  |  | 3
May | 7 | 8 | 12 | 12 |  | 39 | May | 0 |  |  |  |  | 0
June | 4 | 8 | 3 | 5 | 7 | 27 | June |  | 12 | 3 | 0 | 1 | 16
July | 5 | 3 | 0 | 8 |  | 16 | July | 0 | 1 | 1 | 0 |  | 2
Aug | 7 | 6 | 5 | 5 | 5 | 28 | Aug | 1 | 0 | 2 | 0 | 3 | 6
Sept | 2 | 14 | 4 | 6 |  | 26 | Sept | 1 | 3 | 0 | 0 |  | 4
Oct | 8 | 3 | 4 | 12 |  | 27 | Oct | 4 | 4 | 2 | 6 |  | 16
Nov | [5 empty] | 0 | Nov | [5 empty] | 0
Dec | [5 empty] | 0 | Dec | [5 empty] | 0
Total | [5 empty] | 335 | Total | [5 empty] | 52 | ~70 ~
2021
Ops Rounds U2 | [6 empty] | Ops Rounds U3
| Week 1 | Week 2 | Week 3 | Week 4 | Week 5 | Total |  | Week 1 | Week 2 | Week 3 | Week 4 | Week 5 | Total
Jan | 8 | 5 | 6 | 8 |  | 27 | Jan | 4 | 1 | 11 | 0 |  | 16
Feb | [5 empty] | 0 | Feb | [5 empty] | 0
Mar | [5 empty] | 0 | Mar | [5 empty] | 0
Apr | [5 empty] | 0 | Apr | [5 empty] | 0
May | [5 empty] | 0 | May | [5 empty] | 0
June | [5 empty] | 0 | June | [5 empty] | 0
July | [5 empty] | 0 | July | [5 empty] | 0
Aug | [5 empty] | 0 | Aug | [5 empty] | 0
Sept | [5 empty] | 0 | Sept | [5 empty] | 0
Oct | [5 empty] | 0 | Oct | [5 empty] | 0
Nov | [5 empty] | 0 | Nov | [5 empty] | 0
Dec | [5 empty] | 0 | Dec | [5 empty] | 0
Total | [5 empty] | 27 | Total | [5 empty] | 16
2020
Ops Rounds U2 | [6 empty] | Ops Rounds U3
| Week 1 | Week 2 | Week 3 | Week 4 | Week 5 | Total |  | Week 1 | Week 2 | Week 3 | Week 4 | Week 5 | Total
Jan | 6 | 5 | 4 | 16 |  | 31 | Jan | 0 | 16 | 1 | 3 |  | 20
Feb | 13 | 5 | 11 | 3 |  | 32 | Feb | 0 | 2 | 4 | 7 |  | 13
Mar |  | 11 | 5 | 0 | 5 | 21 | Mar |  | 1 | 2 | 0 | 3 | 6
Apr | 6 | 27 | 15 | 0 |  | 48 | Apr | 5 | 12 | 7 | 1 |  | 25
May | 0 | 0 | 0 | 0 | 2 | 2 | May | 1 | 2 | 0 | 4 | 0 | 7
June | 37 | 21 | 8 | 6 |  | 72 | June | 3 | 0 | 1 | 0 |  | 4
July | 15 | 15 | 5 | 8 |  | 43 | July | 0 | 7 | 0 | 0 |  | 7
Aug | 6 | 8 | 16 | 14 | 17 | 61 | Aug | 0 | 3 | 0 | 5 | 1 | 9
Sept | 3 | 10 | 0 |  |  | 13 | Sept | 1 | 0 | 0 |  |  | 1
Oct | 6 | 11 | 15 | 0 |  | 32 | Oct | 0 | 0 | 0 | 0 |  | 0
Nov | 5 | 13 | 8 | 13 | 4 | 43 | Nov | 0 | 1 | 4 | 3 | 8 | 16
Dec | 10 | 6 | 13 | 7 |  | 36 | Dec | 0 | 4 | 1 | 0 |  | 5
Total | [5 empty] | 434 | Total | [5 empty] | 113