3EOC-23 Failed Fuel HIT

Keys to Success:

- Configuration management through outage planning that minimizes the threat of releases of radioactive material.

- Planned radiation level monitoring and control of access to potentially affected areas of the aux bldg and containment.

- Communications to the affected work force on potential personal impacts of outage execution under failed fuel conditions prior to the outage thru planned communications.

- Maximize effectiveness of Noble gas removal from the RCS system into GWD system immediately following shutdown w/o release to plant work environments.

- Maximize Iodine removal from RCS system to limit availability of Iodine for release to plant work environments.

- Maintain worker awareness of potential issues through effective PJBs (RWPs) prior to the start of work.

- Control releases of Iodine from plant systems and components thru the effective use of engineering controls.

- Maximize availability of Rx Bldg purge to reduce airborne levels in the buildings.

- Timely and effective radiological airborne and radiation level monitoring to indicate when the above listed strategies have been compromised.

- Effective monitoring/control strategy for discrete radioactive particles.

- Specific planned actions based on indications of degrading radiological conditions.

- Effective plan for PCE management in a large scale exposure event.

- Clearly communicating the significance of exposures to affected work force as needed.